COMPANION APPLICATION · DESIGN SPECIFICATION · REVISION 1

Calibrating the Body-Location

Announcer

An adult-led calibration app for the wrist-worn body-location announcer. Covers the 
accessibility research behind every colour and motion decision, the complete feature set, the 
screen-by-screen label design, the link to the device, and the order to build it in.

| 13 AUGUST 2026 | COMPANION TO THE WRIST UNIT FINAL DESIGN REPORT, REV. 2 | STATUS: SPECIFICATION, PRE- |
| --- | --- | --- |

IMPLEMENTATION

| 1 | Why this app has to exist | 9 | Screen by screen |
| --- | --- | --- | --- |

| 2 | Who is holding the phone | 10 The label dictionary |
| --- | --- | --- |

| 3 | The accessibility brief | 11 Talking to the device |
| --- | --- | --- |

| 4 | Is a black-and-white theme right? | 12 What a calibration session contains |
| --- | --- | --- |

| 5 | The colour system | 13 Random forest or TensorFlow Lite |
| --- | --- | --- |

| 6 | Motion, fashing and seizure safety | 14 Quality gates the app must enforce |
| --- | --- | --- |

| 7 | Type, targets and layout | 15 Build plan |
| --- | --- | --- |

| 8 | What the app does | 16 Sources |
| --- | --- | --- |

1 Why this app has to exist

The wrist unit does not track where the hand is in space. Section 3.1 of the design report establishes why that 
approach fails: a one-degree tilt error leaks gravity into the horizontal axes as phantom acceleration, and 
after double integration that is 8.6 cm of imaginary displacement after one second and 19.2 cm after one and 
a half. A better sensor does not fx it. What the device does instead is classify arm posture against gravity —
a permanent, drift-free reference — and announce the body region the arm has settled into: head, mouth, 
shoulder, chest, stomach, and the side/rest pose which is recognised but deliberately kept silent.

That design choice is what makes a calibration app mandatory rather than optional. Posture thresholds are 
personal. A child with short arms, a tall torso, or a habit of holding the elbow high produces entirely 
diferent pitch and roll values at “shoulder” than the developer did. Section 12.2 of the report states the 
consequence in plain numbers.

Roughly 75% accuracy uncalibrated, roughly 95% calibrated. The report calls per-user calibration “a 
required feature, not a refnement”. Everything in this document follows from that one sentence.

There is currently no way to perform that calibration. The report's build plan assumes it happens on a bench, 
by the developer, with a laptop attached. That is fne for the frst prototype and useless for the tenth child. 
This app is the piece that turns a working prototype into something a school or a therapist can actually 
deploy — and because the wearers are disabled children, the app itself has to clear an accessibility bar at 
least as high as the device's.

2 Who is holding the phone

The app has two users at once, and they are not the same person with the same needs. Designing for an 
average of the two produces something that patronises the adult and overwhelms the child.

| ROLE | WHAT THEY NEED | WHAT THAT IMPLIES |
| --- | --- | --- |

| The adult | To run the session, see whether it is going well, | Dense information is welcome. Real numbers, live |
| --- | --- | --- |

| parent, teacher, | judge whether a repetition was real, and know | pitch and roll, per-region quality, session history. |
| --- | --- | --- |

| therapist | when calibration is good enough to stop. | This is the primary interface. |
| --- | --- | --- |

| The child | To understand what to do next, know it worked, | One instruction on screen at a time. Icon-led. No |
| --- | --- | --- |

| deaf or hard of | and not be overloaded while doing it twenty times | numbers. No audio-only cue anywhere. Calm, |
| --- | --- | --- |

| hearing, wearing | in a row. | unchanging layout. |
| --- | --- | --- |

the unit

THE CONSTRAINT THAT IS EASY TO FORGET

The wearer is deaf or hard of hearing. That is not an accessibility nicety bolted onto this app — it is the entire 
reason the device exists. No instruction, no confrmation, no error and no timing cue may be delivered by 
sound alone, including the phone's own notifcation chirps. Every audible event needs a visual or haptic twin.

The recommended structure is a single app with two registers, not two apps and not a mode switch buried 
in settings. The adult's controls live in a persistent bottom bar; the upper two thirds of the screen is the child-
facing panel, large enough to be read across a table when the phone is propped up. The adult can turn the 
phone toward the child without changing anything.

3 The accessibility brief

Four profles were specifed for this work. They are not independent — several of them push in the same 
direction, and one pair genuinely conficts. The table states what each profle forbids and requires; the

confict is resolved in section 4.

| PROFILE | FORBIDS | REQUIRES |
| --- | --- | --- |

| Photosensitive | Anything fashing more than three times per | State changes that are continuous or instantaneous, |
| --- | --- | --- |

| epilepsy | second. Saturated red fashing at any rate. | never strobing. A recording indicator that flls or |
| --- | --- | --- |

Large high-contrast oscillating patterns, 	sweeps rather than blinks.

including stripes and checkerboards.

Deaf / hard of hearing Audio-only prompts, chimes as the sole 	Visual and haptic equivalents for every event.

success signal, spoken instructions, timing 	Captions on any demonstration video. Sign-aware

cues carried by sound. 	iconography rather than text-heavy prose.

| Autism / sensory | Fully saturated colour over large areas. Pure | Muted, low-chroma palette weighted to blues, |
| --- | --- | --- |

| sensitivity | white grounds. Unpredictable layout shifts. | greens and warm neutrals. Rigid, repeating layout. |
| --- | --- | --- |

Surprise motion, confetti, celebratory 	One thing happening at a time.

animation.

| Low vision / colour | Colour as the only carrier of meaning. Thin | Strong contrast, large scalable type, and redundant |
| --- | --- | --- |

| blindness | light type. Text below roughly 4.5:1 contrast. | coding: colour plus icon plus label. |
| --- | --- | --- |

WHERE TWO OF THEM DISAGREE

Low vision wants maximum contrast. Autism and visual stress want the contrast turned down. These cannot

both be satisfed by one palette, and pretending otherwise produces a compromise that serves neither. The 
resolution is a calm default plus an opt-in high-contrast theme, covered in the next two sections. It is a 
settings decision, not a blending decision.

4 Is a black-and-white theme right?

This was asked directly, and the short answer is no — not as the default. It is an appealing instinct, because 
monochrome feels clean, calm and unambiguous. For this particular audience it is the wrong choice for three 
separate reasons, and only one of them is about taste.

4.1 Pure black on pure white causes visual stress

The stark contrast of black text on a white ground is the textbook trigger for visual stress: text appears to 
shimmer, blur, swim or move on the page. This afects readers with dyslexia and autistic readers specifcally
— both well represented in a special-education setting. The British Dyslexia Association's style guidance 
advises against pure white backgrounds because of glare, recommending cream, of-white, light grey or soft 
pastel grounds instead. Pure white #FFFFFF is separately reported as overwhelming and tiring for autistic 
users. The recommended reading combination is consistently described as dark-but-not-black text on an of-
white ground: enough contrast to be crisp, soft enough not to glare.

4.2 Monochrome cannot encode six regions — and neither can colour alone

The app has to distinguish six body regions, repeatedly, at a glance, for a child who is being asked to perform 
each one ten times. Black and white gives you lightness and nothing else. That would push the entire 
distinction onto text labels, which is exactly what a child with limited reading fuency cannot use.

The more interesting fnding is that colour alone cannot carry it either, and this is measurable rather than 
a matter of opinion. To be readable as text, a colour on the light ground specifed in section 5 must reach 
4.5:1 contrast. That caps its relative luminance at 0.157. The darkest usable colour sits near 0. So the entire 
luminance budget available to all six regions is a span of 4.14:1 — and spread perfectly evenly across six 
categories, that is only 1.33:1 between neighbours, against the 3:1 normally needed to tell two things apart 
by lightness.

THE CONCLUSION THIS FORCES

Six categories that all meet text-contrast requirements cannot be reliably separated by lightness. So a greyscale 
printout, a monochrome theme, or a fully colour-blind reading of this interface will lose them. Redundant 
coding is therefore not a nicety to add if there is time — it is the only thing that makes the six regions 
distinguishable at all. Every region is encoded three times over: colour, icon, and text label, and the app 
must never drop below two of the three.

The device's own design already reached this conclusion from the other direction. Report §5.6: "A device built 
for deaf and hard-of-hearing users should not convey status by colour alone." The same sentence read backwards 
is just as true — it must not convey status by monochrome alone either.

4.3 But high contrast still has to be available

None of the above means high contrast is bad. For a child with low vision it is the single most useful thing the 
app can ofer, and softening the palette actively harms them. So near-black on near-white is kept — as an 
opt-in high-contrast theme, reachable in two taps, remembered per profle. The default is calm; the option 
is stark; nobody gets an average of the two.

| THEME | GROUND / TEXT | CONTRAST | WHO IT IS FOR |
| --- | --- | --- | --- |

| Soft light — default | #F4F1EA / #2A2E33 | 12.11:1 Everyone by default. Sensory sensitivity, visual |
| --- | --- | --- |

stress, general use in a bright room.

| Soft dark | #1B1E22 / #E8E4DC | 13.19:1 Low-light rooms, light sensitivity, migraine, |
| --- | --- | --- |

evening sessions.

| High contrast — opt in | #FFFFFF / #000000 | 21.00:1 Low vision. This is where pure black and white |
| --- | --- | --- |

belongs, and the only place it does.

Note that both defaults already clear 12:1, far above the 4.5:1 the standard asks for. The soft themes are not 
low-contrast — they are high contrast without glare. Warmth was removed from the extremes, not contrast.

5 The colour system

Every value below was computed, not estimated. Ratios are relative luminance contrast per the standard 
formula, and all six region colours clear 4.5:1 against the default ground — meaning they remain legible as 
text, not merely as decorative flls.

5.1 Region colours

These derive from the Okabe–Ito colour-universal-design palette, chosen because its hues stay separable 
under protanopia, deuteranopia and tritanopia. Two changes were made for this audience: the saturated 
yellow and vermilion were desaturated and darkened, because full saturation over any meaningful area 
conficts with the sensory-sensitivity requirement, and because darkening was needed to reach text contrast 
on a light ground.

| Head | Mouth | Shoulder | Chest | Stomach | Side / rest |
| --- | --- | --- | --- | --- | --- |

| #1B4F7A | #2B7361 | #7E5576 | #7E5A1D | #96412A | #565E66 |
| --- | --- | --- | --- | --- | --- |

| REGION | LIGHT | ON GROUND | DARK | ON GROUND | ICON PAIRED WITH IT |
| --- | --- | --- | --- | --- | --- |

| Head | #1B4F7A | 7.61:1 #7FB4DA | 7.52:1 Head outline, hand at temple |
| --- | --- | --- | --- |

| Mouth | #2B7361 | 4.99:1 #6FC3AC | 8.03:1 Head outline, hand at chin |
| --- | --- | --- | --- |

| Shoulder | #7E5576 | 5.40:1 #C99BBD | 7.09:1 Torso, hand on opposite shoulder |
| --- | --- | --- | --- |

| Chest | #7E5A1D | 5.53:1 #D6A54F | 7.45:1 Torso, fat palm centred |
| --- | --- | --- | --- |

| Stomach | #96412A | 6.03:1 #E08A6E | 6.40:1 Torso, hand low |
| --- | --- | --- | --- |

| Side / rest | #565E66 | 5.84:1 #9AA4AC | 6.60:1 Arm hanging down, dashed outline |
| --- | --- | --- | --- |

Side/rest is deliberately the only neutral grey in the set. It is the pose the device stays silent in and re-zeroes 
against, so giving it a hue would imply it is a region like the others. Grey says “this one is the background 
state” without a word of explanation.

5.2 Surfaces, text and semantic colours

| TOKEN | SOFT LIGHT | RATIO | SOFT DARK | RATIO | USE |
| --- | --- | --- | --- | --- | --- |

| ground | #F4F1EA | — #1B1E22 | — Page background. Warm, |
| --- | --- | --- | --- |

never pure white.

| TOKEN | SOFT LIGHT | RATIO | SOFT DARK | RATIO | USE |
| --- | --- | --- | --- | --- | --- |

| surface | #FBF9F5 | — #23272C | — Cards, sheets, the child |
| --- | --- | --- | --- |

panel.

| text-primary | #2A2E33 | 12.11:1 #E8E4DC | 13.19:1 Body text. Charcoal, not |
| --- | --- | --- | --- |

black.

| text-secondary | #5A6169 | 5.56:1 #A9B0B8 | 7.64:1 Captions, helper text, |
| --- | --- | --- | --- |

units.

| text-muted | #767D85 | 3.69:1 #8B939B | 5.3:1 Large text only. Never |
| --- | --- | --- | --- |

body copy.

| border | #CFC8BC | 1.47:1 #343A41 | 1.4:1 Hairlines. Separation |
| --- | --- | --- | --- |

comes from these plus

spacing.

| success | #2F6E4F | 5.37:1 #6FC08A | 7.63:1 Repetition accepted, gate |
| --- | --- | --- | --- |

passed. Always with a tick.

| warning | #7E5A1D | 5.53:1 #D6A54F | 7.45:1 Marginal quality. Always |
| --- | --- | --- | --- |

with a triangle.

| alert | #9B3D2E | 6.00:1 #E58873 | 6.45:1 Blocking problem. Adult- |
| --- | --- | --- | --- |

facing only. Never fashes.

| focus | #1B4F7A | 7.61:1 #7FB4DA | 7.52:1 3 px focus ring, never |
| --- | --- | --- | --- |

removed.

TWO DELIBERATE DECISIONS IN THAT TABLE

Ground and surface difer by only 1.07:1. That looks like a mistake and is not. A strong lightness step between

the page and its cards is a second high-contrast edge on every boundary in the layout. Separation is carried by a

hairline border and generous spacing instead, which costs nothing in legibility and removes a great deal of

visual noise.

The alert colour is a muted brick, not a fre-engine red, and it is confned to adult-facing surfaces. Saturated

red is the single most provocative colour for photosensitive users, and on a child's screen a red state also reads

as “you did something wrong”, which is precisely the message this app must never send.

5.3 What the palette forbids

No pure #FFFFFF or #000000 anywhere outside the opt-in high-contrast theme.

No fully saturated fll over more than roughly a quarter of the screen. Region colour appears as chips,

icon strokes, progress arcs and headers — not as full-bleed backgrounds.

No saturated red as a fashing or animated element, at any rate, in any theme.

No colour-only status. Every coloured state carries an icon and a word.

No gradient, glow or shadow used to convey state. They degrade unpredictably at high contrast and

add visual noise for no informational gain.

6 Motion, fashing and seizure safety

The governing rule is WCAG success criterion 2.3.1, Three Flashes or Below Threshold, at Level A: content

must not fash more than three times in any one-second period unless it stays below the general and red

fash thresholds. Because people are markedly more sensitive to red fashing than to any other colour, this

specifcation takes the stricter line and treats saturated red fashing as prohibited outright rather than

something to measure against a threshold.

That has real consequences for an app whose main job is recording repetitions, because the obvious design

for “recording now” is a blinking red dot. That design is banned here. The table gives the replacement for

every place the instinct arises.

| WHERE | THE INSTINCTIVE DESIGN | WHAT THIS APP DOES INSTEAD |
| --- | --- | --- |

| Recording indicator | Blinking red dot | A solid ring that sweeps once around the region icon |
| --- | --- | --- |

over the dwell window. Continuous motion, no fash,

and it doubles as the timing cue.

| Dwell countdown (~400 ms) | Pulsing number, ticking fash | An arc that flls smoothly from empty to full. One |
| --- | --- | --- |

continuous transition, no repetition.

| Repetition accepted | Green fash, confetti burst | The repetition's dot flls in and stays flled. A single |
| --- | --- | --- |

150 ms fade. Optional haptic tap.

| Repetition rejected | Red shake, buzzer | The dot returns to its empty outline. No colour change |
| --- | --- | --- |

on the child panel at all.

| Device disconnected | Flashing alert banner | A static banner that appears and stays. Icon plus text |
| --- | --- | --- |

plus colour.

| Low battery on the unit | Blinking battery icon | Static icon with a percentage. The device's own LED |
| --- | --- | --- |

already handles urgency, per report §5.6.

6.1 The motion budget

Nothing repeats more than three times per second. In practice nothing in this app repeats at all —

every animation is a one-shot transition.

No animation exceeds 400 ms, except the dwell arc, which is deliberately matched to the device's own

~400 ms dwell window so the child learns the real timing.

No parallax, no auto-playing carousel, no background motion.

Nothing moves that the user did not cause, other than the dwell arc during an active capture.

prefers-reduced-motion is honoured, and there is also an in-app toggle, because the OS-level setting is

often not something a teacher can change on a shared device.

WHAT REDUCED MOTION DEGRADES TO

Animations do not simply vanish, because two of them carry information. With reduced motion on, the

sweeping dwell ring becomes a stepped arc that advances in four discrete jumps, and the fll transition

becomes an instant state change. The timing information survives; the smooth movement does not.

7 Type, targets and layout

| PROPERTY | VALUE | REASONING |
| --- | --- | --- |

| Body text size | 17 pt minimum | Above the usual 16 pt foor; this is read at arm's length on a |
| --- | --- | --- |

propped phone.

| Child panel instruction | 34 pt minimum | Legible across a table without the child leaning in. |
| --- | --- | --- |

| Dynamic type | Up to 200% | Layout must refow, not clip or scroll horizontally, at every |
| --- | --- | --- |

step.

| PROPERTY | VALUE | REASONING |
| --- | --- | --- |

| Line length | 60–70 characters | Standard readability ceiling. |
| --- | --- | --- |

| Line height | 1.5 minimum | Dyslexia-friendly spacing; reduces line-tracking errors. |
| --- | --- | --- |

| Letter spacing | Normal to +2% | Never negative; tight tracking degrades badly at large |
| --- | --- | --- |

sizes.

| Typeface | System sans, weight | System fonts inherit the user's accessibility settings for |
| --- | --- | --- |

400/600 	free. Avoid weights under 400.

| All caps | Labels only, never | Capitals remove word-shape cues that struggling readers |
| --- | --- | --- |

sentences 	rely on.

| Touch targets | 56 × 56 dp minimum | Above the 44–48 dp guideline, because targets are hit one- |
| --- | --- | --- |

handed while steadying a child's arm with the other.

| Target spacing | 12 dp minimum | Prevents mis-taps during a fast repetition loop. |
| --- | --- | --- |

| Destructive actions | Confrmed, never | “Discard session” is never beside “Save”. |
| --- | --- | --- |

adjacent

LAYOUT STABILITY IS AN ACCESSIBILITY FEATURE HERE

The child sees the same screen up to sixty times in one session — six regions by ten repetitions. Any element

that moves, resizes or refows between repetitions costs attention that should be going to the gesture. The child

panel is therefore built on a fxed grid: icon in the same place, instruction in the same place, progress dots in

the same place, every single time. Only the icon, the word and the dot count change.

8 What the app does

Features are grouped by priority. Core is the minimum that produces a usable calibration — without any one

of these the app does not do its job. Supporting makes it deployable beyond a single developer. Later is

genuinely deferrable.

8.1 Core — required for a working calibration

REPORT

| FEATURE | REF. | WHAT IT DOES AND WHY |
| --- | --- | --- |

| Device pairing | §4 | Find and connect to the wrist unit over BLE. Connection state shown as icon |
| --- | --- | --- |

plus word plus colour, never colour alone. Reconnects automatically mid-

session without losing captured repetitions.

| Handedness setup | §13.4 | Left or right wrist, set before any capture and stored with the profle. Roll |
| --- | --- | --- |

inverts and lateral displacement changes sign between arms; a model trained

on a right wrist scores near chance on a left one. This must be explicit, so it is

a required step with no default selected.

| Band-ft and rest-pose | §14 step 5 | Capture the resting pose, have the band removed and reftted, capture again, |
| --- | --- | --- |

baseline 	and compare. Every threshold and feature in the device is referenced to

resting pitch. See section 14.1 — this is the gate that matters most.

| Guided repetition capture | §3.3, §12.2 | Six regions, ten repetitions each, one instruction at a time. The dwell |
| --- | --- | --- |

indicator matches the device's ~400 ms hold so the child practises the timing

the device actually requires.

REPORT

| FEATURE | REF. | WHAT IT DOES AND WHY |
| --- | --- | --- |

| Live posture readout | §3.2 | Pitch and roll shown live on the adult's bar, with the expected band for the |
| --- | --- | --- |

current region. Lets the adult see instantly that a gesture landed, without

waiting for the classifer.

| Automatic sample rejection | §3.3 | Discard repetitions where the arm never settled, where dwell was too short, |
| --- | --- | --- |

or where the reading is implausible. A bad sample is worse than a missing

one — it teaches the classifer the wrong boundary.

| Accept / redo per repetition | — | The adult saw what actually happened; the sensor did not. A one-tap redo, |
| --- | --- | --- |

and an undo for the previous repetition.

| Separation report | §13.2, §12.3 | After capture, show how well each pair of regions separates, with mouth- |
| --- | --- | --- |

versus-head called out by name. The report fags this as the known weak

point and lists its accuracy as “to be measured” — the app is the thing that

measures it.

| Write parameters to the | §12.2 | Push the ftted per-user parameters over BLE and read them back to verify. |
| --- | --- | --- |

device 	No silent writes.

| Try-it mode | §12.3 | Perform a gesture, see what the device would announce and how confdently, |
| --- | --- | --- |

without leaving the app or committing anything. The only honest way to

know calibration worked.

8.2 Supporting — required to deploy beyond one child

FEATURE 	WHAT IT DOES AND WHY

Multiple child profles 	One phone, one device, several children — the realistic classroom case. Each profle stores

handedness, region set, calibration parameters and history. Switching profles re-pushes

that child's parameters to the device.

Session history 	Every calibration kept with its date, quality fgures and separation margins. Lets a

therapist see whether a child's accuracy is drifting over months.

Plain-language quality	“Calibration is good. Head and mouth are close together — the watch may sometimes say

summary 	one when you meant the other.” Then the numbers underneath, for whoever wants them.

Region set selection 	Turn of regions a child does not use. This is not only convenience: §12.3 gives roughly 95%

on four well-separated regions against 92–97% on all six, so dropping an unused region is a

real accuracy gain.

Session export 	Labelled samples out as a fle — needed for the retrain path in section 13, and useful as a

clinical record.

Accessibility settings 	Theme (soft light, soft dark, high contrast), reduced motion, text size, haptics on or of. Per

profle, not global.

8.3 Later

Re-calibration reminder — prompted by elapsed time or by observed accuracy drift. Children grow; arm

length is a calibration input.

Guided troubleshooting — walks the adult through the common failure causes when accuracy is poor:

band too loose, band rotated, child leaning forward.

Word set customisation — recording alternative spoken words for regions, in the family's own language,

if the frmware audio path supports replacement clips.

Two-sensor support — the report's §13 upgrade path adds a bicep band and removes the mouth-versus-

head problem entirely. If that ever happens, calibration gains a second stream and a bone-length

measurement step.

9 Screen by screen

Eleven screens. For each: what it is for, the exact adult-facing labels, and the child-facing panel where one

exists.

| # | SCREEN | PURPOSE AND CONTENT | PRIMARY ACTION LABEL |
| --- | --- | --- | --- |

| 1 | Home | Profle selector, device connection state, last | “Start calibration” |
| --- | --- | --- | --- |

calibration date and its quality. One 
prominent action.

| 2 | Connect device | Scan, list found units, connect. Shows | “Connect” |
| --- | --- | --- | --- |

battery and frmware version once linked. 
Static states only, no fashing search

animation.

| 3 | Profle setup | Child's name, age, and which wrist — no | “Save profle” |
| --- | --- | --- | --- |

default selected, because a wrong default 
silently produces a near-useless model.

| 4 | Region selection | The six regions as cards with colour, icon | “Use these regions” |
| --- | --- | --- | --- |

and label. Toggle of any the child will not 
use. Explains the accuracy beneft in one

line.

| 5 | Fit the band | Illustration of correct placement and | “Capture rest pose” |
| --- | --- | --- | --- |

tightness. Rest-pose capture with the arm 
hanging at the side.

| 6 | Reft check | Asks for the band to be taken of and put | “Check again” |
| --- | --- | --- | --- |

back on, then re-captures. Passes or fails on 
the resting-pitch shift. Blocks progress on

failure — see §14.1.

| 7 | Capture | The main loop. Child panel above, adult bar | “Accept” / “Redo” |
| --- | --- | --- | --- |

below. Ten repetitions per region, progress 
dots, live pitch and roll for the adult.

| 8 | Region complete | Brief pause between regions. Shows | “Next region” |
| --- | --- | --- | --- |

consistency for the region just fnished. An 
explicit, unhurried break point.

| 9 | Results | Overall quality, the separation matrix, | “Send to watch” |
| --- | --- | --- | --- |

mouth-versus-head called out, and any 
region fagged for recapture.

| 10 | Try it | Live classifcation with no recording. Shows | “Done” |
| --- | --- | --- | --- |

what the device would announce and how

confdently.

| 11 | Settings | Theme, motion, text size, haptics, export, | — |
| --- | --- | --- | --- |

profle management.

9.1 The capture screen in detail

This is where the child spends the entire session, so it gets the most attention. The layout is fxed and does 
not change between repetitions.

CHILD PANEL

Dwell ring sweeps once over ~400 ms —

matches the device's real dwell window. 
Never blinks.

Icon, colour and word together —

the three redundant channels of §4.2.

| Touch your head | Progress fills. It does not count down and it does not flash. |
| --- | --- |

Adult bar: real numbers, the expected 
band, and the judgement call. Fixed 
position, so it is never hunted for.

Pitch +62° Roll −8°

Accept 	Redo 
expected +45° to +80° · head · rep 5 of 10

Figure 1. The capture screen. Everything above the adult bar is fixed in place for the whole session — only the icon, the word, the ring colour and the dot 
count change between repetitions.

10 The label dictionary

Two registers for the same events. The adult register is precise and may use numbers and technical nouns. 
The child register is short, concrete, second-person, and never evaluative about the child.

10.1 Region names

| REGION | ADULT LABEL | CHILD PROMPT | DEVICE ANNOUNCES |
| --- | --- | --- | --- |

| Head | Head / temple | “Touch your head” | “head” |
| --- | --- | --- | --- |

| Mouth | Mouth / chin | “Touch your chin” | “mouth” |
| --- | --- | --- | --- |

| Shoulder | Shoulder | “Touch your shoulder” | “shoulder” |
| --- | --- | --- | --- |

| Chest | Chest | “Hand on your chest” | “chest” |
| --- | --- | --- | --- |

| Stomach | Stomach | “Hand on your tummy” | “stomach” |
| --- | --- | --- | --- |

| Side | Side (rest position) | “Arm down by your side” | — silent — |
| --- | --- | --- | --- |

WHY THE CHILD PROMPT SAYS “CHIN” WHEN THE DEVICE SAYS “MOUTH”

“Touch your mouth” invites a fnger on the lips, which is a diferent arm posture from the one the device is 
trained on — the report defnes this region as mouth / chin at +50° to +75° forearm pitch. “Chin” produces the 
posture the classifer actually needs. The spoken output stays “mouth” because that is the sign-language 
location name. The two do not have to match, and forcing them to would cost accuracy.

10.2 State and feedback labels

| EVENT | ADULT REGISTER | CHILD REGISTER | NEVER SAY |
| --- | --- | --- | --- |

| Repetition accepted | “Captured — 5 of 10” | “Got it!” | “Correct” |
| --- | --- | --- | --- |

| Repetition rejected | “Arm did not settle — not | “Let's try that one again” | “Failed”, “Wrong”, “Error” |
| --- | --- | --- | --- |

recorded”

| EVENT | ADULT REGISTER | CHILD REGISTER | NEVER SAY |
| --- | --- | --- | --- |

| Dwell too short | “Held for 180 ms, needs 400 ms” | “Hold it still a bit longer” | “Too fast” |
| --- | --- | --- | --- |

| Region fnished | “Head complete — consistency | “All done with that one!” | “Perfect”, “Well done” (see below) |
| --- | --- | --- | --- |

good”

| Session fnished | “Calibration complete” | “Finished — nice work!” | “You scored…” |
| --- | --- | --- | --- |

| Device disconnected | “Watch disconnected — | “Just a moment” | “Connection error” |
| --- | --- | --- | --- |

reconnecting”

| Reft check failed | “Rest pitch moved 6.2° — reft | “Let's fx the strap” | Anything implying the child |
| --- | --- | --- | --- |

the band”	caused it

| Regions too similar | “Head and mouth overlap — 4° | — not shown to the child — | — |
| --- | --- | --- | --- |

margin”

THE RULE BEHIND THE “NEVER SAY” COLUMN

Every rejection in this app is a sensor or setup problem, not a child problem. The arm did not settle; the

band moved; the dwell was short. The child is not being tested and must never be told they got something

wrong — they are demonstrating their own natural gesture, and by defnition they cannot perform it

incorrectly.

“Well done” and “Perfect” are avoided for a subtler reason: they are evaluative praise, which implies the

opposite outcome exists. “All done” and “Got it” are factual — they mark progress without grading the person.

10.3 Adult-facing quality vocabulary

| SHOWN AS | MEANS | PLAIN-LANGUAGE LINE THE APP DISPLAYS |
| --- | --- | --- |

| Good | Separation margin | “Calibration is good. The watch should recognise all six positions |
| --- | --- | --- |

comfortable across all 	reliably.”

enabled regions

| Close | One pair of regions | “Head and mouth are close together. The watch may sometimes say one |
| --- | --- | --- |

separates by a narrow 	when you meant the other.”

margin

| Recapture | A region's repetitions were | “The shoulder position varied a lot. Let's record that one again.” |
| --- | --- | --- |

too inconsistent to ft

| Blocked | Rest-pose baseline unstable | “The strap moves too much between wearings. Tighten it or reposition |
| --- | --- | --- |

across refts 	it before calibrating.”

11 Talking to the device

The XIAO nRF52840 Sense has BLE in silicon and the report's power budget already lists BLE as of during

normal operation. Calibration is the one time it needs to be on, which is convenient: the radio's cost is

confned to a session that happens rarely and while the adult is watching.

11.1 GATT layout

| CHARACTERISTIC | PROPERTIES | PAYLOAD | CONTENTS |
| --- | --- | --- | --- |

| control | write | 4 B | Command plus argument: enter/leave calibration mode, |
| --- | --- | --- | --- |

start/stop streaming, set handedness, zero the rest pose.

| CHARACTERISTIC | PROPERTIES | PAYLOAD | CONTENTS |
| --- | --- | --- | --- |

| imu_stream | notify | 20 B × N | Packed sample frames during capture. See below. |
| --- | --- | --- | --- |

| posture | notify | 6 B | Fused pitch, roll, relative yaw at ~10 Hz. Drives the live readout |
| --- | --- | --- | --- |

without the cost of streaming raw samples.

| params | read / write | ≤512 B | The calibrated per-user parameter block. Written at the end of a |
| --- | --- | --- | --- |

session, read back to verify.

| status | read / notify | 8 B | Battery percent, frmware version, current mode, last classifed |
| --- | --- | --- | --- |

region.

11.2 Sample frame

offset; size; field. 0; 2; seq; uint16, wraps — detects dropped notifications. 2; 4; t_us; uint32, device microseconds. 6; 6; accel; int16 × 3, milli-g. 12; 6; gyro; int16 × 3, milli-degrees/second. 18; 1; flags; bit0 settled, bit1 dwell active, bit2 rest pose. 19; 1; label; region id, 0xFF while unlabelled. = 20 bytes; 104 Hz = 2.08 kB/s, comfortable for BLE

The seq feld matters more than it looks. BLE notifcations are droppable, and a gap in the middle of a 
captured repetition silently corrupts a training sample. The app must detect the gap and discard that 
repetition rather than ft a model to a sample with a hole in it.

WHERE LABELLING HAPPENS

The device streams unlabelled samples; the app attaches the region label, because only the app knows which 
region it just asked for. The label feld exists so labelled data can also be replayed back to the device during 
verifcation. Do not have the frmware guess labels during calibration — that would train the classifer on its 
own current output, which is exactly the mistake calibration exists to correct.

12 What a calibration session contains

A session is the unit of storage, the unit of export, and the unit the user can discard. Structure:

session id, timestamp, app version, firmware version profile: name, age, handedness, enabled regions baseline: rest_pitch_1, rest_pitch_2, delta, verdict captures[]: region, index, accepted, reject_reason settled_pitch, settled_roll, relative_yaw dwell_ms, bounded_displacement frames[] ←raw 20-byte sample frames derived: per-region mean and spread pairwise separation matrix fitted parameters result: verdict, written_to_device, verified

Raw frames are kept, not just the derived features. They cost little — a full session is a few megabytes — and 
without them the retrain path in the next section is impossible, since new features cannot be computed from 
summary statistics after the fact.

13 Random forest or TensorFlow Lite

The design report specifes a random forest over roughly twenty features, compiled to a few kilobytes of 
C (§12). The brief for this app described a TensorFlow Lite model. These are diferent enough that the app's 
core loop changes depending on which is real, so both are specifed here and a recommendation follows.

| QUESTION | RANDOM FOREST (REPORT §12) | TENSORFLOW LITE MICRO |
| --- | --- | --- |

| What calibration | Per-user thresholds, feature normalisation | New model weights, or a normalisation layer in |
| --- | --- | --- |

| produces | constants and class boundaries — a small | front of a fxed model. |
| --- | --- | --- |

parameter block.

| Where ftting happens | On the phone, in seconds. Trees are cheap to | On the phone if fne-tuning a last layer; |
| --- | --- | --- |

ft on sixty samples. 	otherwise of-device, which means a retrain-
	and-refash cycle.

| What gets sent to the | A parameter block of a few hundred bytes, | A weights blob — kilobytes to tens of kilobytes |
| --- | --- | --- |

| device | over the existing params characteristic. | — needing chunked transfer, a scratch fash |
| --- | --- | --- |

region and rollback on failure.

| Can the child leave with | Yes. Fit, write, verify, done — all within the | Only with on-device fne-tuning. A full retrain |
| --- | --- | --- |

| it working? | session. | means the child comes back another day. |
| --- | --- | --- |

| Flash and RAM on the | A few kB. Trivially fts. | TFLite Micro's interpreter plus kernels is tens of |
| --- | --- | --- |

nRF52840 	kB before the model. It fts in 1 MB, but it is no 
	longer free.

| Efort in the app | Moderate: implement the ft, the separation | High: model lifecycle, versioning, chunked OTA- |
| --- | --- | --- |

metrics, the parameter block. 	style transfer, rollback, plus a training pipeline

somewhere.

| Accuracy ceiling | The report's design target: 92–97% calibrated. | Potentially higher on raw sequences, but with |
| --- | --- | --- |

sixty samples per child the data does not 
support a larger model.

RECOMMENDATION

Build the random forest path. The deciding argument is not model quality — it is that calibration must 
complete while the child is still in the room. A parameter block that fts in seconds and writes in one BLE 
transaction gives you that. A retrain-and-refash cycle does not, and a calibration the family has to come back 
for is a calibration that often does not happen.

The data supports it too. Ten repetitions across six regions is sixty labelled gestures — ample for a shallow 
forest over twenty hand-designed features, and thin for anything with learned representations. The report's 
choice is sound and this app should not fght it.

Keep the TFLite door open at zero cost by storing raw sample frames (§12) and shipping session export from 
day one. If a neural model is wanted later, every calibration ever run is already a labelled dataset in the right 
shape. The decision does not have to be made now — it only has to stop blocking the app.

14 Quality gates the app must enforce

Four gates. Each corresponds to a limitation the report identifes in physics rather than implementation, so 
none of them can be engineered away — they can only be detected and handled.

14.1 Rest-pose stability across refits — the blocking gate

Report §14 calls this “the single most important bring-up test in the project”, and it applies just as much to 
every subsequent wearing as to the frst bench test. Every threshold and every feature is referenced to 
resting pitch. If the band sits a few degrees diferently each time it is put on, the whole mapping shifts 
underneath the classifer and calibration silently becomes worthless.

So the app captures the rest pose, asks for the band to be removed and reftted, and captures again. The 
report's own criterion is that a shift of more than a couple of degrees means the mechanical mounting must 
be fxed before any classifcation work is done. This app enforces exactly that.

| REST PITCH SHIFT | VERDICT | WHAT THE APP DOES |
| --- | --- | --- |

| ≤2° | Pass | Continue to capture. |
| --- | --- | --- |

| 2° to 5° | Warn | Ofer a retry with a tighter or repositioned strap. Allow continuing, but record |
| --- | --- | --- |

the fgure in the session and repeat it on the results screen.

| > 5° | Block | Do not proceed. Show strap guidance and require a passing check. Calibrating |
| --- | --- | --- |

on an unstable mount produces a model that fails tomorrow.

THIS GATE WILL BE UNPOPULAR AND MUST NOT BE SOFTENED

Blocking a session because a strap is loose feels harsh, especially with a child already sitting down and ready. 
But a calibration performed on an unstable mount does not fail visibly — it produces a model that works for 
the rest of that session and then degrades the next morning, which is far harder to diagnose and much more 
discouraging than being asked to tighten a strap. The gate is doing the family a favour and the interface should 
say so, in those terms.

14.2 Handedness

Per §13.4, roll inverts and lateral displacement changes sign on the opposite arm; a model trained on a right 
wrist scores near chance on a left one. The app therefore treats handedness as a required feld with no 
default, stores it with the profle, mirrors features at capture time, and re-verifes it against the observed roll 
sign during the rest-pose capture — if a profle says left but the sensor says right, the app says so rather than 
quietly producing a bad model.

14.3 Implausible posture

Every threshold is referenced to gravity, so §13.3 notes the mapping breaks silently if the torso rotates and 
the world does not — a child bending over or lying down. During calibration the app detects implausible rest 
orientation and pauses rather than recording. In try-it mode it shows “can’t tell right now” instead of a guess. 
The report's own prescribed response is to refuse to classify rather than to classify badly, and the app should 
model the same honesty.

14.4 Mouth versus head

§13.2 identifes this as the known weak point: both sit at nearly the same forearm elevation, and what 
actually difers is elbow height, which a wrist sensor cannot observe. §12.3 lists its accuracy as “to be 
measured”. This app is the instrument that measures it, per child, and it reports the margin plainly on the 
results screen rather than burying it.

When the margin is too small to be reliable, the app ofers the report's own sanctioned response: merge the 
two into one “face” class. The report is explicit that this is a legitimate engineering decision, not a failure —
and a device that says “face” correctly is more useful than one that guesses between “head” and “mouth”.

15 Build plan

Ordered so that everything not needing hardware happens frst, and so the riskiest unknown — whether the

postures separate at all on a real child — is proven as early as a device allows.

NEEDS

| # | STEP | HARDWARE? | WHY HERE |
| --- | --- | --- | --- |

| 1 | Design system: tokens, themes, type | No | Everything else consumes it. The icons are on the |
| --- | --- | --- | --- |

scale, icon set for six regions 	critical path because they are one of the three

redundant channels.

| 2 | Screens against a simulated device | No | The full fow can be built and usability-tested before a |
| --- | --- | --- | --- |

(replay recorded IMU data) 	board exists. Use the labelling rig's recordings from 
	report §12.1.

| 3 | Fitting and separation metrics, ofine | No | Pure computation. Validate against the labelling rig's |
| --- | --- | --- | --- |

ground-truth data.

| 4 | Firmware: BLE service, streaming, | Yes | First hardware dependency. Bring up alongside report |
| --- | --- | --- | --- |

parameter block	§14 step 5.

| 5 | Live capture end to end, one region only Yes | Proves the whole chain — dwell detection, streaming, |
| --- | --- | --- |

labelling, no dropped frames — before multiplying by

six.

| 6 | The reft gate, on a real wrist | Yes | Cannot be simulated. It measures a mechanical |
| --- | --- | --- | --- |

property of the strap, and it may send you back to the

enclosure.

| 7 | Full six-region session, parameter write- | Yes | The app is now functional end to end. |
| --- | --- | --- | --- |

back, try-it mode

| 8 | Accessibility audit with real users | Yes | Contrast and fash rules are verifed by computation; |
| --- | --- | --- | --- |

comprehension, pacing and fatigue are not. This must 
happen with deaf children, not for them.

| 9 | Profles, history, export, settings | No | Deployment features. Deliberately last — none of them |
| --- | --- | --- | --- |

afect whether calibration works.

THE ONE STEP THAT CANNOT BE SKIPPED

Step 8. Every rule in sections 4 through 7 is drawn from published guidance and computed contrast, which 
makes them defensible but not sufcient. Whether a child understands “hold it still”, whether sixty repetitions 
is fatiguing, whether the dwell ring reads as a timer or as decoration — none of that is knowable from a 
specifcation. Budget for it, and expect the label dictionary in section 10 to change as a result.

16 Sources

Colour and contrast values in section 5 were computed from the WCAG relative-luminance and contrast-ratio formulae; every fgure 
quoted in this document is a computed result, not an estimate. Device behaviour, section references and quoted fgures are drawn 
from Wrist-Worn Body-Location Announcer — Final Design Report, revision 2, 12 August 2026.

1. W3C, Understanding Success Criterion 2.3.1: Three Flashes or Below Threshold — w3c.github.io/wcag21/understanding/three-fashes-

or-below-threshold.html

2. DigitalA11Y, Understanding SC 2.3.1 Three Flashes or Below Threshold — digitala11y.com/understanding-sc-2-3-1-three-fashes-or-

below-threshold/

3. Cardif University Learning and Teaching Academy, Not just pretty colours: using colour and contrast inclusively —
	blogs.cardif.ac.uk/LTAcademy/not-just-pretty-colours-using-colour-and-contrast-inclusively/

4. British Dyslexia Association style guidance, as summarised in Best Background Colours for Dyslexia — dyslexly.com/blog/best-
	background-colours-for-dyslexia 
5. Dyslexie Font, Contrast and Colour — dyslexiefont.com/en/contrast-and-color/ 
6. DESIGNA11Y, Colours and autism — design-a11y.com/colors-autism 
7. Ascel, Colour palette for people with autism (children's colour-preference study summary) — ascel.org.uk 
8. Okabe M. & Ito K., Color Universal Design; see also Wong B., Points of view: Color blindness, Nature Methods, 2011 — palette 
	reference at scifg.ai/blog/okabe-ito-color-palette-hex-codes

Calibration app design specifcation · revision 1 · 13 August 2026 · companion to the Wrist-Worn Body-Location Announcer fnal design report, 
revision 2. All contrast ratios computed against the WCAG 2.1 relative-luminance formula and verifed before publication.